CANKAYA UNIVERSITY

FACULTY OF ENGINEERING

COMPUTER ENGINEERING DEPARTMENT

Test Plan, Test Design Specifications and Test Cases

FlameScope: Fire Detection and Localization System

Version 1.0

CENG 408

Innovative System Design and Development II

Fire Detection and Localization System

| Project | Fire Detection and Localization System |
| --- | --- |
| Document | Test Plan and Detailed Test Cases |
| Branch / Build | final-demo-2026-05-14 |
| Date | 15 May 2026 |
| Prepared for | CENG 408 Final Project Delivery |

# Table of Contents

1. Introduction

1.1 Version Control

1.2 Overview

1.3 Scope

1.4 Terminology

2. Features to be Tested

3. Features Not to be Tested

4. Item Pass/Fail Criteria

5. References

6. Test Design Specifications

7. Detailed Test Cases

# 1. INTRODUCTION

## 1.1 Version Control

| Version No | Description of Changes | Date |
| --- | --- | --- |
| 1.0 | Initial complete FlameScope test plan for final demo workflow | 15 May 2026 |

## 1.2 Overview

This document defines the test plan, test design specifications and detailed test cases for FlameScope, a role-based fire detection and localization system. The system uses camera streams, detector services, risk scoring, manager approval, real-time notifications, employee evacuation status reporting and fire response unit operation tracking.

The main objective of testing is to verify that the system can detect fire events, reduce false alarms, route incidents according to risk level, and notify the correct users at the correct stage of the emergency workflow.

## 1.3 Scope

The scope covers backend API, detector service, RTSP webcam stream, lobby demo video workflow, Android mobile application on emulator, WebSocket/local notifications, role-based access control, risk policy, incident workflow, employee safety reports, fire response updates and analytics dashboard.

Testing is designed for the local final demo environment using SQLite backend, Android emulators, local RTSP server, webcam feed and the prepared lobby fire video.

## 1.4 Terminology

| Acronym / Term | Definition |
| --- | --- |
| API | Application Programming Interface |
| RTSP | Real Time Streaming Protocol |
| YOLO | You Only Look Once object detection model |
| ROI | Region of Interest used for calibrated detection |
| Risk Score | 0-100 score representing strength of fire-like visual evidence |
| Detected | Incident state before manager or automatic confirmation |
| Confirmed | Incident state after manager approval or auto escalation |
| Dismissed | Incident state marked as false alarm |
| Human-in-the-loop | Manager/admin reviews incident before employees are notified when risk is not critical |
| Employee | User role receiving confirmed emergency instructions |
| Fire Response Unit | User role responsible for operational response status updates |
| FR-01 | Users can authenticate and are routed to the correct role-based mobile home screen. |
| FR-02 | Admin and manager can view cameras, incidents, snapshots, risk score and live streams. |
| FR-03 | Detector receives camera streams and creates fire incidents with snapshot and risk score. |
| FR-04 | Lobby demo video starts from the beginning and triggers an early fire alert for demonstration. |
| FR-05 | Webcam demo detects a clear lighter/flame in the calibrated demo region while minimizing false positives. |
| FR-06 | Detected incidents are sent only to admin/manager until confirmed. |
| FR-07 | Manager/admin can confirm or dismiss detected incidents. |
| FR-08 | Confirmed incidents are pushed to employee and fire response unit devices immediately. |
| FR-09 | Risk policy supports critical auto-confirmation and high-risk timeout escalation. |
| FR-10 | Employee can view active emergency instructions and report safety status. |
| FR-11 | Fire response unit can view confirmed incidents ordered by risk and update response status. |
| FR-12 | System provides incident analytics summary for admin/manager dashboard. |
| NFR-01 | Notifications should appear within acceptable demo latency on Android emulator. |
| NFR-02 | System should avoid continuous false alarm spam when no flame is present. |
| NFR-03 | Employee and fire response users must not access unconfirmed incidents or live streams. |

# 2. FEATURES TO BE TESTED

The following major features are included in the test scope. Each feature has related test design specifications and detailed test cases.

## 2.x Authentication and Role-Based Access (AUTH)

Login, token storage, user role routing and access restrictions.

## 2.x Camera and Live Stream Management (CAM)

Camera records, RTSP webcam stream, lobby demo video stream and stream access rules.

## 2.x Fire Detection and Snapshot Generation (DET)

YOLO/calibrated detection, risk score calculation, snapshot creation and false-positive control.

## 2.x Risk-Based Incident Decision Policy (POL)

Manager approval, critical auto-confirmation and high-risk timeout escalation.

## 2.x Real-Time Notifications (NOTIF)

WebSocket/local notifications for detected and confirmed fire incidents.

## 2.x Incident Review Workflow (INC)

Incident detail, risk level, timeline, confirm and dismiss actions.

## 2.x Employee Emergency Workflow (EMP)

Active emergency view, safety instructions, safe/need-help reporting.

## 2.x Fire Response Unit Workflow (FRU)

Risk-prioritized response queue and response status updates.

## 2.x Analytics and Reporting (ANL)

Dashboard summary metrics for alarm counts and average risk.

# 3. FEATURES NOT TO BE TESTED

| Feature Not Tested | Reason |
| --- | --- |
| Production Firebase push delivery on real devices | The final demo uses Android emulators and WebSocket/local notifications. Firebase credentials are environment-specific and not stored in the repository. |
| Long-term model retraining pipeline | Dismissed incidents are useful for future training data, but automated retraining is outside the final demo scope. |
| Large-scale multi-building deployment | The local demo validates multiple roles and cameras, but load testing across many buildings is outside scope. |
| SMS/e-mail integration | The current project focuses on in-app and local mobile notifications. |
| Physical evacuation hardware integration | No physical alarm siren, door sensor, smoke detector or building automation system is connected. |

# 4. ITEM PASS/FAIL CRITERIA

A test case passes when all stated expected results are observed without workaround and without causing regression in another tested workflow. A test case fails if any mandatory expected result is missing, if an incorrect role receives a notification, if a protected role accesses forbidden data, or if repeated false alarms occur under the no-flame condition.

## 4.1 Exit Criteria

100% of High priority test cases are executed.

All High priority test cases pass.

At least 90% of Medium priority test cases pass.

No blocker defects remain in login, detection, confirmation, notification or employee/fire response workflows.

No continuous false alarm spam occurs during at least 60 seconds of no-flame webcam observation.

Final demo branch builds and runs on two Android emulators.

# 5. REFERENCES

Project repository: https://github.com/CankayaUniversity/ceng-407-408-2025-2026-Fire-Detect-Fire-Detection-and-Localization-System

Final demo branch: final-demo-2026-05-14

Backend FastAPI interactive documentation: http://localhost:8000/docs

Local demo setup notes and implementation branch history.

CENG 407/408 project requirements and final demo scenario.

# 6. TEST DESIGN SPECIFICATIONS

## 6.x Authentication and Role-Based Access (AUTH)

### 6.x.1 Subfeatures to be tested

Login, token storage, user role routing and access restrictions.

### 6.x.2 Test Cases

| TC ID | Requirements | Priority | Scenario Description |
| --- | --- | --- | --- |
| AUTH.AD.01 | FR-01 | High | Admin login with valid credentials |
| AUTH.MG.02 | FR-01 | High | Manager login with valid credentials |
| AUTH.EMP.03 | FR-01,NFR-03 | High | Employee login routes to employee emergency screen |
| AUTH.FRU.04 | FR-01,NFR-03 | High | Fire response unit login routes to response queue |

## 6.x Camera and Live Stream Management (CAM)

### 6.x.1 Subfeatures to be tested

Camera records, RTSP webcam stream, lobby demo video stream and stream access rules.

### 6.x.2 Test Cases

| TC ID | Requirements | Priority | Scenario Description |
| --- | --- | --- | --- |
| CAM.LB.01 | FR-02,FR-04 | High | Lobby camera demo video opens and restarts from beginning |
| CAM.WC.02 | FR-02,FR-05 | High | Computer webcam live stream opens |
| DET.SNP.04 | FR-03 | Medium | Snapshot URL is accessible from Android emulator |

## 6.x Fire Detection and Snapshot Generation (DET)

### 6.x.1 Subfeatures to be tested

YOLO/calibrated detection, risk score calculation, snapshot creation and false-positive control.

### 6.x.2 Test Cases

| TC ID | Requirements | Priority | Scenario Description |
| --- | --- | --- | --- |
| DET.LB.01 | FR-03,FR-04 | High | Lobby video creates early fire incident |
| DET.WC.02 | FR-03,FR-05,NFR-01 | High | Webcam detects clear lighter flame in calibrated demo region |
| DET.WC.03 | FR-05,NFR-02 | High | Webcam does not trigger on face, hand or room lighting |
| DET.SNP.04 | FR-03 | Medium | Snapshot URL is accessible from Android emulator |
| PERF.SPAM.01 | NFR-02 | High | Detector does not spam repeated incidents with no flame |

## 6.x Risk-Based Incident Decision Policy (POL)

### 6.x.1 Subfeatures to be tested

Manager approval, critical auto-confirmation and high-risk timeout escalation.

### 6.x.2 Test Cases

| TC ID | Requirements | Priority | Scenario Description |
| --- | --- | --- | --- |
| POL.MG.01 | FR-07,FR-09 | High | Medium-risk incident waits for manager decision |
| POL.HR.02 | FR-09 | High | High-risk incident escalates if manager does not respond |
| POL.CR.03 | FR-09 | High | Critical-risk incident bypasses manager approval |

## 6.x Real-Time Notifications (NOTIF)

### 6.x.1 Subfeatures to be tested

WebSocket/local notifications for detected and confirmed fire incidents.

### 6.x.2 Test Cases

| TC ID | Requirements | Priority | Scenario Description |
| --- | --- | --- | --- |
| NOTIF.AD.01 | FR-06,NFR-01 | High | Detected fire notification is delivered to admin/manager only |
| NOTIF.EMP.02 | FR-08,NFR-01 | High | Confirmed fire notification reaches employee immediately |
| NOTIF.FRU.03 | FR-08,NFR-01 | High | Confirmed fire notification reaches fire response unit |

## 6.x Incident Review Workflow (INC)

### 6.x.1 Subfeatures to be tested

Incident detail, risk level, timeline, confirm and dismiss actions.

### 6.x.2 Test Cases

| TC ID | Requirements | Priority | Scenario Description |
| --- | --- | --- | --- |
| INC.MG.01 | FR-07 | High | Manager confirms detected incident |
| INC.MG.02 | FR-07,NFR-02 | High | Manager dismisses false alarm |
| INC.UI.03 | FR-07,FR-09 | Medium | Incident detail shows risk level and timeline |

## 6.x Employee Emergency Workflow (EMP)

### 6.x.1 Subfeatures to be tested

Active emergency view, safety instructions, safe/need-help reporting.

### 6.x.2 Test Cases

| TC ID | Requirements | Priority | Scenario Description |
| --- | --- | --- | --- |
| EMP.HOME.01 | FR-10 | Medium | Employee home displays active emergencies |
| EMP.SAFE.02 | FR-10 | High | Employee reports safe status |
| EMP.SOS.03 | FR-10 | High | Employee reports need-help status |
| EMP.SEC.04 | NFR-03 | High | Employee cannot access unconfirmed detected incident |

## 6.x Fire Response Unit Workflow (FRU)

### 6.x.1 Subfeatures to be tested

Risk-prioritized response queue and response status updates.

### 6.x.2 Test Cases

| TC ID | Requirements | Priority | Scenario Description |
| --- | --- | --- | --- |
| FRU.HOME.01 | FR-11 | Medium | Fire response home displays risk-prioritized queue |
| FRU.UPD.02 | FR-11 | High | Fire response marks dispatched |
| FRU.UPD.03 | FR-11 | High | Fire response marks arrived and under control |
| FRU.SEC.04 | NFR-03 | High | Fire response cannot access unconfirmed detected incident |

## 6.x Analytics and Reporting (ANL)

### 6.x.1 Subfeatures to be tested

Dashboard summary metrics for alarm counts and average risk.

### 6.x.2 Test Cases

| TC ID | Requirements | Priority | Scenario Description |
| --- | --- | --- | --- |
| ANL.AD.01 | FR-12 | Medium | Admin dashboard summary metrics load |
| ANL.MG.02 | FR-12 | Medium | Manager dashboard summary metrics load |
| API.HLT.01 | NFR-01 | Medium | Backend health endpoint responds |

# 7. DETAILED TEST CASES

## 7.x AUTH.AD.01

| TC_ID | AUTH.AD.01 |
| --- | --- |
| Purpose | Admin login with valid credentials |
| Requirements | FR-01 |
| Priority | High |
| Estimated Time Needed | 5-10 minutes |
| Dependency | Backend, detector and/or mobile emulator services required according to setup. |
| Setup | Backend is running. Mobile app is installed on emulator. |
| Test Data | admin@flamescope.com / Admin123 |
| Procedure | [A01] Open the mobile app. [A02] Enter admin credentials. [A03] Tap Login. |
| Expected Results | [V01] Login succeeds. [V02] Admin home screen is displayed. [V03] Admin can access Users, Cameras, Incidents and Alarm Summary. |
| Pass/Fail Criteria | PASS if all expected results are observed. FAIL if any expected result is missing or an incorrect role/security behavior is observed. |
| Actual Result |  |
| Status | Not Executed / Pass / Fail |
| Cleanup | Return app to home screen. Logout only when the test group is completed. |

## 7.x AUTH.MG.02

| TC_ID | AUTH.MG.02 |
| --- | --- |
| Purpose | Manager login with valid credentials |
| Requirements | FR-01 |
| Priority | High |
| Estimated Time Needed | 5-10 minutes |
| Dependency | Backend, detector and/or mobile emulator services required according to setup. |
| Setup | Backend and mobile app are running. |
| Test Data | manager@flamescope.com / Manager123 |
| Procedure | [A01] Open app. [A02] Login as manager. |
| Expected Results | [V01] Manager home screen is displayed. [V02] Manager can access Incidents and Alarm Summary. |
| Pass/Fail Criteria | PASS if all expected results are observed. FAIL if any expected result is missing or an incorrect role/security behavior is observed. |
| Actual Result |  |
| Status | Not Executed / Pass / Fail |
| Cleanup | Return app to home screen. Logout only when the test group is completed. |

## 7.x AUTH.EMP.03

| TC_ID | AUTH.EMP.03 |
| --- | --- |
| Purpose | Employee login routes to employee emergency screen |
| Requirements | FR-01,NFR-03 |
| Priority | High |
| Estimated Time Needed | 5-10 minutes |
| Dependency | Backend, detector and/or mobile emulator services required according to setup. |
| Setup | Backend and app are running. |
| Test Data | employee@flamescope.com / Employee123 |
| Procedure | [A01] Login as employee. [A02] Observe home screen. |
| Expected Results | [V01] Employee home screen appears. [V02] Active Emergencies and Evacuation Instructions are visible. [V03] Camera/user management menus are not visible. |
| Pass/Fail Criteria | PASS if all expected results are observed. FAIL if any expected result is missing or an incorrect role/security behavior is observed. |
| Actual Result |  |
| Status | Not Executed / Pass / Fail |
| Cleanup | Return app to home screen. Logout only when the test group is completed. |

## 7.x AUTH.FRU.04

| TC_ID | AUTH.FRU.04 |
| --- | --- |
| Purpose | Fire response unit login routes to response queue |
| Requirements | FR-01,NFR-03 |
| Priority | High |
| Estimated Time Needed | 5-10 minutes |
| Dependency | Backend, detector and/or mobile emulator services required according to setup. |
| Setup | Backend and app are running. |
| Test Data | fire@flamescope.com / Fire123 |
| Procedure | [A01] Login as fire response user. [A02] Observe home screen. |
| Expected Results | [V01] Fire Response home appears. [V02] Response Queue panel is visible. [V03] Admin-only menus are hidden. |
| Pass/Fail Criteria | PASS if all expected results are observed. FAIL if any expected result is missing or an incorrect role/security behavior is observed. |
| Actual Result |  |
| Status | Not Executed / Pass / Fail |
| Cleanup | Return app to home screen. Logout only when the test group is completed. |

## 7.x CAM.LB.01

| TC_ID | CAM.LB.01 |
| --- | --- |
| Purpose | Lobby camera demo video opens and restarts from beginning |
| Requirements | FR-02,FR-04 |
| Priority | High |
| Estimated Time Needed | 5-10 minutes |
| Dependency | Backend, detector and/or mobile emulator services required according to setup. |
| Setup | Backend running, demo video file exists, app logged in as manager/admin. |
| Test Data | Lobby Kamera |
| Procedure | [A01] Open Cameras. [A02] Tap Lobby Kamera. [A03] Wait for video player to load. [A04] Tap restart button. |
| Expected Results | [V01] Lobby video plays from configured start point. [V02] Restart plays the same video from the beginning/demo start point. [V03] No YouTube dependency is required. |
| Pass/Fail Criteria | PASS if all expected results are observed. FAIL if any expected result is missing or an incorrect role/security behavior is observed. |
| Actual Result |  |
| Status | Not Executed / Pass / Fail |
| Cleanup | Return app to home screen. Logout only when the test group is completed. |

## 7.x CAM.WC.02

| TC_ID | CAM.WC.02 |
| --- | --- |
| Purpose | Computer webcam live stream opens |
| Requirements | FR-02,FR-05 |
| Priority | High |
| Estimated Time Needed | 5-10 minutes |
| Dependency | Backend, detector and/or mobile emulator services required according to setup. |
| Setup | MediaMTX, ffmpeg webcam publisher and backend are running. |
| Test Data | Bilgisayar Webcam |
| Procedure | [A01] Open Cameras. [A02] Tap Bilgisayar Webcam. [A03] Observe live stream. |
| Expected Results | [V01] Live camera image is visible. [V02] Stream does not freeze during 30 seconds of observation. |
| Pass/Fail Criteria | PASS if all expected results are observed. FAIL if any expected result is missing or an incorrect role/security behavior is observed. |
| Actual Result |  |
| Status | Not Executed / Pass / Fail |
| Cleanup | Return app to home screen. Logout only when the test group is completed. |

## 7.x DET.LB.01

| TC_ID | DET.LB.01 |
| --- | --- |
| Purpose | Lobby video creates early fire incident |
| Requirements | FR-03,FR-04 |
| Priority | High |
| Estimated Time Needed | 5-10 minutes |
| Dependency | Backend, detector and/or mobile emulator services required according to setup. |
| Setup | Manager/admin app is logged in and detector is running. |
| Test Data | Lobby Kamera demo video |
| Procedure | [A01] Open Lobby Kamera. [A02] Start/restart video. [A03] Wait until visible flame appears around early seconds. |
| Expected Results | [V01] A detected incident is created for Lobby Kamera. [V02] Manager/admin receives detected fire notification. [V03] Incident snapshot shows the lobby fire frame. |
| Pass/Fail Criteria | PASS if all expected results are observed. FAIL if any expected result is missing or an incorrect role/security behavior is observed. |
| Actual Result |  |
| Status | Not Executed / Pass / Fail |
| Cleanup | Return app to home screen. Logout only when the test group is completed. |

## 7.x DET.WC.02

| TC_ID | DET.WC.02 |
| --- | --- |
| Purpose | Webcam detects clear lighter flame in calibrated demo region |
| Requirements | FR-03,FR-05,NFR-01 |
| Priority | High |
| Estimated Time Needed | 5-10 minutes |
| Dependency | Backend, detector and/or mobile emulator services required according to setup. |
| Setup | Detector, RTSP webcam and backend are running. Manager/admin app is logged in. |
| Test Data | Lighter/flame shown in lower-right webcam demo region. |
| Procedure | [A01] Open Bilgisayar Webcam live stream. [A02] Show a clear lighter flame in the lower-right region. [A03] Hold flame steady for 1-3 seconds. |
| Expected Results | [V01] A detected incident is created. [V02] Snapshot contains the flame region. [V03] Notification appears on manager/admin device within acceptable demo latency. |
| Pass/Fail Criteria | PASS if all expected results are observed. FAIL if any expected result is missing or an incorrect role/security behavior is observed. |
| Actual Result |  |
| Status | Not Executed / Pass / Fail |
| Cleanup | Return app to home screen. Logout only when the test group is completed. |

## 7.x DET.WC.03

| TC_ID | DET.WC.03 |
| --- | --- |
| Purpose | Webcam does not trigger on face, hand or room lighting |
| Requirements | FR-05,NFR-02 |
| Priority | High |
| Estimated Time Needed | 5-10 minutes |
| Dependency | Backend, detector and/or mobile emulator services required according to setup. |
| Setup | Detector is running and no flame is present. |
| Test Data | Normal face/hand movement, room light, monitor light. |
| Procedure | [A01] Keep webcam open without flame. [A02] Move hands and face normally. [A03] Wait at least 60 seconds. |
| Expected Results | [V01] No new fire incident is created. [V02] No repeated fire notifications are received. |
| Pass/Fail Criteria | PASS if all expected results are observed. FAIL if any expected result is missing or an incorrect role/security behavior is observed. |
| Actual Result |  |
| Status | Not Executed / Pass / Fail |
| Cleanup | Return app to home screen. Logout only when the test group is completed. |

## 7.x DET.SNP.04

| TC_ID | DET.SNP.04 |
| --- | --- |
| Purpose | Snapshot URL is accessible from Android emulator |
| Requirements | FR-03 |
| Priority | Medium |
| Estimated Time Needed | 5-10 minutes |
| Dependency | Backend, detector and/or mobile emulator services required according to setup. |
| Setup | At least one incident with snapshot exists. |
| Test Data | Incident snapshot_url |
| Procedure | [A01] Open incident detail on emulator. [A02] Observe snapshot image. |
| Expected Results | [V01] Image loads from backend /snapshots endpoint. [V02] No broken image placeholder is shown. |
| Pass/Fail Criteria | PASS if all expected results are observed. FAIL if any expected result is missing or an incorrect role/security behavior is observed. |
| Actual Result |  |
| Status | Not Executed / Pass / Fail |
| Cleanup | Return app to home screen. Logout only when the test group is completed. |

## 7.x POL.MG.01

| TC_ID | POL.MG.01 |
| --- | --- |
| Purpose | Medium-risk incident waits for manager decision |
| Requirements | FR-07,FR-09 |
| Priority | High |
| Estimated Time Needed | 5-10 minutes |
| Dependency | Backend, detector and/or mobile emulator services required according to setup. |
| Setup | Detector creates incident with risk below auto-escalation threshold. |
| Test Data | Risk score below 80%. |
| Procedure | [A01] Create/detect medium-risk incident. [A02] Observe manager/admin app. [A03] Do not confirm immediately. |
| Expected Results | [V01] Incident remains DETECTED. [V02] Employee/fire response users do not receive confirmed alarm before manager confirmation. |
| Pass/Fail Criteria | PASS if all expected results are observed. FAIL if any expected result is missing or an incorrect role/security behavior is observed. |
| Actual Result |  |
| Status | Not Executed / Pass / Fail |
| Cleanup | Return app to home screen. Logout only when the test group is completed. |

## 7.x POL.HR.02

| TC_ID | POL.HR.02 |
| --- | --- |
| Purpose | High-risk incident escalates if manager does not respond |
| Requirements | FR-09 |
| Priority | High |
| Estimated Time Needed | 5-10 minutes |
| Dependency | Backend, detector and/or mobile emulator services required according to setup. |
| Setup | Auto escalation threshold is 80%, timeout is 30 seconds. |
| Test Data | Risk score between 80% and 96%. |
| Procedure | [A01] Create high-risk detected incident. [A02] Do not confirm/dismiss for 30 seconds. |
| Expected Results | [V01] Incident changes to CONFIRMED automatically after timeout. [V02] Employee and fire response devices receive emergency notification. |
| Pass/Fail Criteria | PASS if all expected results are observed. FAIL if any expected result is missing or an incorrect role/security behavior is observed. |
| Actual Result |  |
| Status | Not Executed / Pass / Fail |
| Cleanup | Return app to home screen. Logout only when the test group is completed. |

## 7.x POL.CR.03

| TC_ID | POL.CR.03 |
| --- | --- |
| Purpose | Critical-risk incident bypasses manager approval |
| Requirements | FR-09 |
| Priority | High |
| Estimated Time Needed | 5-10 minutes |
| Dependency | Backend, detector and/or mobile emulator services required according to setup. |
| Setup | Critical threshold is 97%. |
| Test Data | Risk score >= 97%. |
| Procedure | [A01] Create critical-risk incident. [A02] Observe incident status immediately. |
| Expected Results | [V01] Incident is automatically CONFIRMED. [V02] Emergency notification is sent to all relevant roles. |
| Pass/Fail Criteria | PASS if all expected results are observed. FAIL if any expected result is missing or an incorrect role/security behavior is observed. |
| Actual Result |  |
| Status | Not Executed / Pass / Fail |
| Cleanup | Return app to home screen. Logout only when the test group is completed. |

## 7.x NOTIF.AD.01

| TC_ID | NOTIF.AD.01 |
| --- | --- |
| Purpose | Detected fire notification is delivered to admin/manager only |
| Requirements | FR-06,NFR-01 |
| Priority | High |
| Estimated Time Needed | 5-10 minutes |
| Dependency | Backend, detector and/or mobile emulator services required according to setup. |
| Setup | Admin/manager and employee devices are logged in. |
| Test Data | New DETECTED incident. |
| Procedure | [A01] Trigger a detected fire incident. [A02] Observe manager/admin device. [A03] Observe employee device. |
| Expected Results | [V01] Admin/manager receives detected fire notification. [V02] Employee does not receive notification until confirmation. |
| Pass/Fail Criteria | PASS if all expected results are observed. FAIL if any expected result is missing or an incorrect role/security behavior is observed. |
| Actual Result |  |
| Status | Not Executed / Pass / Fail |
| Cleanup | Return app to home screen. Logout only when the test group is completed. |

## 7.x NOTIF.EMP.02

| TC_ID | NOTIF.EMP.02 |
| --- | --- |
| Purpose | Confirmed fire notification reaches employee immediately |
| Requirements | FR-08,NFR-01 |
| Priority | High |
| Estimated Time Needed | 5-10 minutes |
| Dependency | Backend, detector and/or mobile emulator services required according to setup. |
| Setup | Manager and employee emulators are logged in. |
| Test Data | Existing DETECTED incident. |
| Procedure | [A01] Open incident as manager. [A02] Tap Yangin - Onayla. [A03] Observe employee emulator. |
| Expected Results | [V01] Employee receives ACIL DURUM notification. [V02] Notification includes camera, location and risk information. |
| Pass/Fail Criteria | PASS if all expected results are observed. FAIL if any expected result is missing or an incorrect role/security behavior is observed. |
| Actual Result |  |
| Status | Not Executed / Pass / Fail |
| Cleanup | Return app to home screen. Logout only when the test group is completed. |

## 7.x NOTIF.FRU.03

| TC_ID | NOTIF.FRU.03 |
| --- | --- |
| Purpose | Confirmed fire notification reaches fire response unit |
| Requirements | FR-08,NFR-01 |
| Priority | High |
| Estimated Time Needed | 5-10 minutes |
| Dependency | Backend, detector and/or mobile emulator services required according to setup. |
| Setup | Manager and fire response emulators are logged in. |
| Test Data | Existing DETECTED incident. |
| Procedure | [A01] Confirm incident as manager. [A02] Observe fire response emulator. |
| Expected Results | [V01] Fire response receives emergency notification. [V02] Incident appears in Response Queue. |
| Pass/Fail Criteria | PASS if all expected results are observed. FAIL if any expected result is missing or an incorrect role/security behavior is observed. |
| Actual Result |  |
| Status | Not Executed / Pass / Fail |
| Cleanup | Return app to home screen. Logout only when the test group is completed. |

## 7.x INC.MG.01

| TC_ID | INC.MG.01 |
| --- | --- |
| Purpose | Manager confirms detected incident |
| Requirements | FR-07 |
| Priority | High |
| Estimated Time Needed | 5-10 minutes |
| Dependency | Backend, detector and/or mobile emulator services required according to setup. |
| Setup | A DETECTED incident exists. |
| Test Data | Detected incident detail. |
| Procedure | [A01] Open incident detail as manager. [A02] Tap Yangin - Onayla. |
| Expected Results | [V01] Status becomes CONFIRMED. [V02] Timeline shows decision and notification steps. [V03] Employee/fire response users can see the incident. |
| Pass/Fail Criteria | PASS if all expected results are observed. FAIL if any expected result is missing or an incorrect role/security behavior is observed. |
| Actual Result |  |
| Status | Not Executed / Pass / Fail |
| Cleanup | Return app to home screen. Logout only when the test group is completed. |

## 7.x INC.MG.02

| TC_ID | INC.MG.02 |
| --- | --- |
| Purpose | Manager dismisses false alarm |
| Requirements | FR-07,NFR-02 |
| Priority | High |
| Estimated Time Needed | 5-10 minutes |
| Dependency | Backend, detector and/or mobile emulator services required according to setup. |
| Setup | A DETECTED false alarm exists. |
| Test Data | Detected incident detail. |
| Procedure | [A01] Open incident detail as manager. [A02] Tap Yanlis Alarm. |
| Expected Results | [V01] Status becomes DISMISSED. [V02] Employee/fire response users do not receive emergency notification. |
| Pass/Fail Criteria | PASS if all expected results are observed. FAIL if any expected result is missing or an incorrect role/security behavior is observed. |
| Actual Result |  |
| Status | Not Executed / Pass / Fail |
| Cleanup | Return app to home screen. Logout only when the test group is completed. |

## 7.x INC.UI.03

| TC_ID | INC.UI.03 |
| --- | --- |
| Purpose | Incident detail shows risk level and timeline |
| Requirements | FR-07,FR-09 |
| Priority | Medium |
| Estimated Time Needed | 5-10 minutes |
| Dependency | Backend, detector and/or mobile emulator services required according to setup. |
| Setup | Incident exists. |
| Test Data | Any incident detail. |
| Procedure | [A01] Open incident detail. [A02] Inspect incident information card and timeline. |
| Expected Results | [V01] Risk Score and Risk Level are visible. [V02] Timeline includes detection, decision and employee notification stages. |
| Pass/Fail Criteria | PASS if all expected results are observed. FAIL if any expected result is missing or an incorrect role/security behavior is observed. |
| Actual Result |  |
| Status | Not Executed / Pass / Fail |
| Cleanup | Return app to home screen. Logout only when the test group is completed. |

## 7.x EMP.HOME.01

| TC_ID | EMP.HOME.01 |
| --- | --- |
| Purpose | Employee home displays active emergencies |
| Requirements | FR-10 |
| Priority | Medium |
| Estimated Time Needed | 5-10 minutes |
| Dependency | Backend, detector and/or mobile emulator services required according to setup. |
| Setup | At least one CONFIRMED incident exists. |
| Test Data | Employee login. |
| Procedure | [A01] Login as employee. [A02] Observe home screen. |
| Expected Results | [V01] Active Emergency panel lists confirmed incidents. [V02] Each card shows camera/location/risk level and opens incident detail. |
| Pass/Fail Criteria | PASS if all expected results are observed. FAIL if any expected result is missing or an incorrect role/security behavior is observed. |
| Actual Result |  |
| Status | Not Executed / Pass / Fail |
| Cleanup | Return app to home screen. Logout only when the test group is completed. |

## 7.x EMP.SAFE.02

| TC_ID | EMP.SAFE.02 |
| --- | --- |
| Purpose | Employee reports safe status |
| Requirements | FR-10 |
| Priority | High |
| Estimated Time Needed | 5-10 minutes |
| Dependency | Backend, detector and/or mobile emulator services required according to setup. |
| Setup | Employee is viewing a CONFIRMED incident. |
| Test Data | SAFE status. |
| Procedure | [A01] Open confirmed incident detail. [A02] Tap Guvendeyim. |
| Expected Results | [V01] Backend accepts safety report. [V02] App shows success snackbar. [V03] Safety report is stored for the incident. |
| Pass/Fail Criteria | PASS if all expected results are observed. FAIL if any expected result is missing or an incorrect role/security behavior is observed. |
| Actual Result |  |
| Status | Not Executed / Pass / Fail |
| Cleanup | Return app to home screen. Logout only when the test group is completed. |

## 7.x EMP.SOS.03

| TC_ID | EMP.SOS.03 |
| --- | --- |
| Purpose | Employee reports need-help status |
| Requirements | FR-10 |
| Priority | High |
| Estimated Time Needed | 5-10 minutes |
| Dependency | Backend, detector and/or mobile emulator services required according to setup. |
| Setup | Employee is viewing a CONFIRMED incident. |
| Test Data | NEED_HELP status. |
| Procedure | [A01] Open confirmed incident detail. [A02] Tap Yardima ihtiyacim var. |
| Expected Results | [V01] Backend accepts safety report. [V02] App shows success snackbar. [V03] Need-help status is stored for incident response review. |
| Pass/Fail Criteria | PASS if all expected results are observed. FAIL if any expected result is missing or an incorrect role/security behavior is observed. |
| Actual Result |  |
| Status | Not Executed / Pass / Fail |
| Cleanup | Return app to home screen. Logout only when the test group is completed. |

## 7.x EMP.SEC.04

| TC_ID | EMP.SEC.04 |
| --- | --- |
| Purpose | Employee cannot access unconfirmed detected incident |
| Requirements | NFR-03 |
| Priority | High |
| Estimated Time Needed | 5-10 minutes |
| Dependency | Backend, detector and/or mobile emulator services required according to setup. |
| Setup | A DETECTED incident exists and employee is logged in. |
| Test Data | Detected incident id. |
| Procedure | [A01] Attempt to open detected incident detail as employee. |
| Expected Results | [V01] Backend returns not found or access denied. [V02] Employee cannot see live stream or unconfirmed incident details. |
| Pass/Fail Criteria | PASS if all expected results are observed. FAIL if any expected result is missing or an incorrect role/security behavior is observed. |
| Actual Result |  |
| Status | Not Executed / Pass / Fail |
| Cleanup | Return app to home screen. Logout only when the test group is completed. |

## 7.x FRU.HOME.01

| TC_ID | FRU.HOME.01 |
| --- | --- |
| Purpose | Fire response home displays risk-prioritized queue |
| Requirements | FR-11 |
| Priority | Medium |
| Estimated Time Needed | 5-10 minutes |
| Dependency | Backend, detector and/or mobile emulator services required according to setup. |
| Setup | Multiple confirmed incidents exist. |
| Test Data | Fire response login. |
| Procedure | [A01] Login as fire response unit. [A02] Observe Response Queue. |
| Expected Results | [V01] Confirmed incidents are listed. [V02] Higher risk incidents appear with stronger visual priority. |
| Pass/Fail Criteria | PASS if all expected results are observed. FAIL if any expected result is missing or an incorrect role/security behavior is observed. |
| Actual Result |  |
| Status | Not Executed / Pass / Fail |
| Cleanup | Return app to home screen. Logout only when the test group is completed. |

## 7.x FRU.UPD.02

| TC_ID | FRU.UPD.02 |
| --- | --- |
| Purpose | Fire response marks dispatched |
| Requirements | FR-11 |
| Priority | High |
| Estimated Time Needed | 5-10 minutes |
| Dependency | Backend, detector and/or mobile emulator services required according to setup. |
| Setup | Fire response user is viewing a CONFIRMED incident. |
| Test Data | DISPATCHED status. |
| Procedure | [A01] Open incident detail. [A02] Tap Yola cikildi. |
| Expected Results | [V01] Backend accepts response update. [V02] App shows success snackbar. |
| Pass/Fail Criteria | PASS if all expected results are observed. FAIL if any expected result is missing or an incorrect role/security behavior is observed. |
| Actual Result |  |
| Status | Not Executed / Pass / Fail |
| Cleanup | Return app to home screen. Logout only when the test group is completed. |

## 7.x FRU.UPD.03

| TC_ID | FRU.UPD.03 |
| --- | --- |
| Purpose | Fire response marks arrived and under control |
| Requirements | FR-11 |
| Priority | High |
| Estimated Time Needed | 5-10 minutes |
| Dependency | Backend, detector and/or mobile emulator services required according to setup. |
| Setup | Fire response user is viewing a CONFIRMED incident. |
| Test Data | ARRIVED and UNDER_CONTROL statuses. |
| Procedure | [A01] Tap Olay yerine ulasildi. [A02] Tap Kontrol altina alindi. |
| Expected Results | [V01] Both status updates are stored. [V02] App confirms successful update. |
| Pass/Fail Criteria | PASS if all expected results are observed. FAIL if any expected result is missing or an incorrect role/security behavior is observed. |
| Actual Result |  |
| Status | Not Executed / Pass / Fail |
| Cleanup | Return app to home screen. Logout only when the test group is completed. |

## 7.x FRU.SEC.04

| TC_ID | FRU.SEC.04 |
| --- | --- |
| Purpose | Fire response cannot access unconfirmed detected incident |
| Requirements | NFR-03 |
| Priority | High |
| Estimated Time Needed | 5-10 minutes |
| Dependency | Backend, detector and/or mobile emulator services required according to setup. |
| Setup | A DETECTED incident exists. |
| Test Data | Detected incident id. |
| Procedure | [A01] Attempt to open detected incident as fire response user. |
| Expected Results | [V01] Backend blocks access. [V02] Only confirmed incidents appear in the response queue. |
| Pass/Fail Criteria | PASS if all expected results are observed. FAIL if any expected result is missing or an incorrect role/security behavior is observed. |
| Actual Result |  |
| Status | Not Executed / Pass / Fail |
| Cleanup | Return app to home screen. Logout only when the test group is completed. |

## 7.x ANL.AD.01

| TC_ID | ANL.AD.01 |
| --- | --- |
| Purpose | Admin dashboard summary metrics load |
| Requirements | FR-12 |
| Priority | Medium |
| Estimated Time Needed | 5-10 minutes |
| Dependency | Backend, detector and/or mobile emulator services required according to setup. |
| Setup | Backend contains incident records. |
| Test Data | /incidents/analytics/summary |
| Procedure | [A01] Login as admin. [A02] Open Admin home screen. |
| Expected Results | [V01] Alarm summary cards show total, confirmed, dismissed and average risk. |
| Pass/Fail Criteria | PASS if all expected results are observed. FAIL if any expected result is missing or an incorrect role/security behavior is observed. |
| Actual Result |  |
| Status | Not Executed / Pass / Fail |
| Cleanup | Return app to home screen. Logout only when the test group is completed. |

## 7.x ANL.MG.02

| TC_ID | ANL.MG.02 |
| --- | --- |
| Purpose | Manager dashboard summary metrics load |
| Requirements | FR-12 |
| Priority | Medium |
| Estimated Time Needed | 5-10 minutes |
| Dependency | Backend, detector and/or mobile emulator services required according to setup. |
| Setup | Backend contains incident records. |
| Test Data | /incidents/analytics/summary |
| Procedure | [A01] Login as manager. [A02] Open Manager home screen. |
| Expected Results | [V01] Manager sees alarm summary cards. [V02] Metric values match backend summary endpoint. |
| Pass/Fail Criteria | PASS if all expected results are observed. FAIL if any expected result is missing or an incorrect role/security behavior is observed. |
| Actual Result |  |
| Status | Not Executed / Pass / Fail |
| Cleanup | Return app to home screen. Logout only when the test group is completed. |

## 7.x API.HLT.01

| TC_ID | API.HLT.01 |
| --- | --- |
| Purpose | Backend health endpoint responds |
| Requirements | NFR-01 |
| Priority | Medium |
| Estimated Time Needed | 5-10 minutes |
| Dependency | Backend, detector and/or mobile emulator services required according to setup. |
| Setup | Backend server is started. |
| Test Data | GET /health |
| Procedure | [A01] Send HTTP GET request to /health. |
| Expected Results | [V01] Response status is 200. [V02] Response body contains status=ok. |
| Pass/Fail Criteria | PASS if all expected results are observed. FAIL if any expected result is missing or an incorrect role/security behavior is observed. |
| Actual Result |  |
| Status | Not Executed / Pass / Fail |
| Cleanup | Return app to home screen. Logout only when the test group is completed. |

## 7.x PERF.SPAM.01

| TC_ID | PERF.SPAM.01 |
| --- | --- |
| Purpose | Detector does not spam repeated incidents with no flame |
| Requirements | NFR-02 |
| Priority | High |
| Estimated Time Needed | 5-10 minutes |
| Dependency | Backend, detector and/or mobile emulator services required according to setup. |
| Setup | Detector and webcam are running. No flame is present. |
| Test Data | Normal room scene. |
| Procedure | [A01] Start detector. [A02] Keep webcam scene normal for 60 seconds. [A03] Check incident list. |
| Expected Results | [V01] No continuous incident creation occurs. [V02] No repeated notifications are received every cooldown interval. |
| Pass/Fail Criteria | PASS if all expected results are observed. FAIL if any expected result is missing or an incorrect role/security behavior is observed. |
| Actual Result |  |
| Status | Not Executed / Pass / Fail |
| Cleanup | Return app to home screen. Logout only when the test group is completed. |